ROOMING HOUSES AND TENEMENTS, CONSTRUCTION AND USE REGULATED Act of Jun. 3, 1915, P.L. 954, No. 420 Cl. 11 AN ACT To protect the public health and safety: By regulating the erection, alteration, repair, use, occupancy, maintenance, sanitation, and condemnation of dwellings, two-family dwellings, rooming-houses, and tenements; by regulating the use, maintenance, and sanitation of the grounds surrounding the same, the adjoining buildings, and all vacant land, in cities of the first class; providing for their inspection, the abatement of nuisances, the vacating of uninhabitable houses, and the filing of liens; creating a Division of Housing and Sanitation; and providing penalties for violations of the provisions thereof, and repealing all laws inconsistent therewith. Section 1. Be it enacted, &c., That there shall be in cities of the first class a Division of Housing and Sanitation, attached to the Department of Public Health and Charities; which division and all its officers and employes shall be under the supervision and control of the Director of the Department of Public Health and Charities, and shall, under said department, have jurisdiction over all matters coming within the provisions of this act, and all laws, ordinances of such cities, and rules and regulations of the Bureau or Board of Health, in any way affecting or regulating the use, occupancy, sanitation, or maintenance of all buildings, grounds, and vacant lands herein mentioned. ORGANIZATION. Section 2. There shall be a chief of the said division, to be known as the Chief of the Division of Housing and Sanitation, who shall have had experience in sanitary work. An assistant chief and one or more supervising inspectors, all of whom shall be qualified by training or experience; a statistician, sufficient inspectors, and such stenographers, typewriters, messengers, and other employes as the Director of the Department of Public Health and Charities shall deem necessary, subject to the approval of select council. The city councils, with the approval of the mayor, shall fix their respective salaries. None of the foregoing officers shall be otherwise employed. The Director of the Department of Public Health and Charities shall, immediately after the city councils by ordinance create the said division, organize and establish said division by transfer thereto of the inspectors and employes of the Division of Sanitation and Tenement House Inspection. Where there is no substantial change made in the duties or salary of the person transferred, he shall be placed in the new position without a civil service examination. Such other employes as this act provides for shall be appointed by the Director of the Department. The chief of the division shall forthwith organize a subdivision thereof, which shall have charge and control of all matters relating to the construction and reconstruction of the plumbing and house connections of all buildings. Said subdivision shall be in immediate charge of one of the supervising inspectors. Said supervising inspectors, and each of the persons who may perform the duties of the examinations of plans of proposed plumbing work, or the inspection of plumbing and house connections, or who may perform any of the technical work necessary in the operation of this division, shall be required to have had at least five years' experience as a practical plumber. DUTIES OF OFFICERS. Section 3. The chief of the division shall have the management and direction of all matters coming within the jurisdiction of and pertaining to the Division of Housing and Sanitation. He shall provide for the inspection of all properties under the provisions of this act. He shall keep suitable records of inspections, together with all permits and orders, which shall be open to public inspection during business hours. The Director of the Department of Public Health and Charities may revise or revoke any action of the chief of said division. The assistant chief shall assist in the management and control of all matters pertaining to the division, and, in the absence or disability of the chief, exercise all the powers of said chief. The other inspectors shall, under the direction of their superior officers, inspect all properties under this act, as often as necessary, and make adequate records and reports thereof, and perform such other duties as shall properly come within the scope of said division. GENERAL PROVISIONS. Section 4. Whenever in this act the "present tense" is used, it shall include the future tense. The "masculine gender" shall include the feminine and neuter genders. The "singular number" shall include the plural. The word "shall" shall be mandatory and not directory. The word "person" shall include any association, partnership or corporation as well as a natural person. The word "converted" shall mean either a change in the character of occupancy or in construction. The words "ordinances," "regulations," "Bureau of Building Inspection," "department," or "board," or "Bureau of Health" shall be construed as if followed by the words "in cities of the first class." The words "is occupied," applying to any building, shall be construed as if followed by the words "or is intended, arranged, or designed to be occupied." The words "satisfactory or approved" shall be construed as if followed by the words "to" or "by" "the chief of the division of housing and sanitation." The term "tenement" shall mean any house or building which, or a portion of which, is occupied as a residence by three or more families, living independently of each other, and doing their cooking on the premises, and having a common right in the halls, stairways, yard, cellar, or water-closets thereof, or some of them. The term "dwelling" shall mean any house or building, not a lodging-house within the terms of the act of Assembly of July second, one thousand eight hundred and ninety-five (Pamphlet Laws, four hundred and twenty-eight), entitled "An act to regulate and license public lodging-houses in the different cities in this Commonwealth," and not a tenement rooming-house or inn, all or any part of which is occupied as the home or residence of a family, or of two or more families living independently of each other, and having no common right or use of any hall, stairway, cellar, water-closet, or privy; and whether such house is built singly, or as part of a double house, or in conjunction with others in an attached or semi- detached row, it shall be deemed a dwelling. A "two-family dwelling" is any house not a tenement, dwelling, rooming-house or inn, and which is occupied by two families, who use a common entrance or hallway. The term "rooming-house" shall mean and include any house or building, or portion thereof, not a lodging-house within the terms of the act of Assembly of July second, one thousand eight hundred and ninety-five (Pamphlet Laws, four hundred and twenty- eight), entitled "An act to regulate and license public lodging- houses in the different cities in this Commonwealth," and not a tenement or inn, and in which persons, either as single individuals or as families, are harbored or received, housed or lodged, for hire or otherwise, for a single day or night or for a longer period; provided that this shall not include a dwelling where less than five persons are so received and lodged. The term "apartment" shall mean a room, or suits of two or more rooms, which is or are occupied as a home for one or more persons. For the purpose of this act, all buildings herein referred to shall be graded according to their use or occupancy. Buildings of the highest or first grade shall include all dwellings, as hereinbefore defined. Buildings of the second grade shall include all two-family dwellings, as hereinbefore defined. Buildings of the third and lowest grade shall include all rooming-houses and tenements, as hereinbefore defined. A living-room, or room used for living purposes, is any room, not a water-closet, bath-room, or other room used solely for storage or closet purposes, and which is used, in whole or in part, for any household purpose. A yard is an open, unoccupied space on the same lot with a tenement, rooming-house, or dwelling, and which space extends in its full width or depth between opposite lot lines. A court is an open, unoccupied space, other than a yard, on the same lot with a tenement, rooming-house, or dwelling. A sewer is a public sewer, or a private sewer tributary thereto, and accepted by the bureau of surveys. A school sink is any vault or box used, or designated to be used, to receive urine and fecal matter which is washed to the sewer by means of a steady or intermittent flow of water. An entrance hall is a public hall on the first story, admission to which is made from the street or yard, court or alley. A public hall is a hall, corridor, or passageway not within an apartment. A stair hall includes the stairs, stair landings, and the portion of any hall through which it is necessary to pass in going between the entrance floor and roof. A basement is a room or rooms partly, but not more than one- half below the level of the ground surrounding the building. A cellar is a room, or rooms, more than one-half below the level of the ground surrounding the building. APPROVING PLANS. Section 5. All plans for the erection, construction, or alteration of buildings of the grade referred to in this act, for the alteration of houses already erected, or other buildings intended for occupancy for any other grade, besides being submitted to the bureaus now charged with the approval of the same, shall be submitted to the Chief of the Division of Housing and Sanitation, for his approval of the sanitary requirements of said plans and of the sanitary conditions surrounding the ground over which the proposed building is to be erected; and until such approval is obtained and indorsed on such plans the work for construction or alteration shall not begin. All plans for the installation or alteration of plumbing, ventilation, fixtures, cesspools, sinks, or privy-wells shall be submitted to the supervising inspector in charge of plumbing and house drainage, for his approval. LIGHT AND VENTILATION. Per Centum of Lot to be Occupied. Section 6. No building shall be occupied as a tenement unless it shall have appurtenant to it in the rear or at the side, and as a part of the lot upon which it is located, an open space equal to at least twenty per centum of the entire area of such lot, which open space shall be unobstructed by any overhanging structure except fire-escapes required by law; unless, however, such tenement shall be located upon a corner of two streets, neither of which is less than twenty feet in width, in which case said tenement shall have an open space attached to it, in the rear or at the side next the adjoining lot, equal in area to at least ten per centum of the entire area of the lot upon which said tenement is located, which open space shall be unobstructed by any overhanging structure except fire-escapes required by law; and any such tenement located upon a lot bounded on three sides by streets, none of which is less than twenty feet in width, may cover the entire area of said lot: Provided, That at least one window, not less than the minimum size hereinafter provided, opening from each of the rooms in such tenement, shall open upon one of the streets. Such open space attached to every tenement shall be at least eight feet in width throughout its entire length. No court or open space between tenements, or between wings of a tenement, shall be of a less width than twelve feet, except in buildings erected prior to June seventh, one thousand eight hundred and ninety-five, and which are not over three stories in height; where the open space is between the walls of the walls of the wings of tenements there shall be an approved open space five feet in width, provided the length of such wing or wings is not more than thirty feet, and, for each additional ten feet in length, there shall be an additional foot in width, provided there is at the rear or at the side of the lot upon which the building is erected an open space equal to at least twenty per centum of the entire lot area, which open space shall be unobstructed by any overhanging structure except fire-escapes required by law. If such tenement is situated on a lot which is bounded on two opposite sides by streets, then at least one end of every such open space shall abut upon one of said streets. Every court or shaft furnishing light or air to any such tenement shall open, upon one side, into a street, or into a yard or open space, except such shafts as are used solely for ventilation of water- closets or bath-rooms, which, for the purpose of cleaning same, shall have a door or window giving sufficient access for such purposes on the ground floor leading thereto. Buildings erected as tenements, or physically altered into tenements, prior to June seventh, one thousand eight hundred and ninety-five, shall be exempt from the provisions of this section governing the percentage of the lot occupied, the width between the wings and the width of the court; and such other buildings shall likewise be exempt as have been listed on the records of the Department of Public Health and Charities, and consecutively occupied as tenements prior to the passage of this act: Provided, however, That whenever any building which had been erected prior to January first, one thousand nine hundred forty-three, is about to be or has been converted into a tenement, the board of adjustment of any city of the first class authorized to be established by the act, approved the sixth day of May, one thousand nine hundred and twenty-nine (Pamphlet Laws, one thousand five hundred fifty-one), shall have the authority, after investigation and public hearing, to determine that the area of open space required under the terms of this section to be appurtenant to tenements is not necessary for the protection of the public health and welfare, and to issue a certificate of variance, as respects said open space. In such case, the provisions herein contained respecting the area requirement of open space shall not be applicable. (6 amended May 26, 1943, P.L.623, No.272) ALTERATION OF BUILDING AND OPEN AREAS. Section 7. No yard, court, or open area, appurtenant to any building of the grades referred to in this act, shall be reduced, through the erection or alteration of any kind of building on the same lot, to a size less than the minimum yard, court, or open area required when new buildings of like grade are constructed. CHANGE IN GRADE OF OCCUPANCY. Section 8. No building of a higher grade of occupancy shall be converted to the use of a building of a lower grade of occupancy, except as provided in section six of this act, unless it shall be made to conform in all particulars, as to safety in structure and requirements in sanitation and health, to the class to which the lower grade belongs. No building not now in one of the grades referred to in this act shall be converted into any such grade without conforming to all the requirements of this and other acts, and all the rules and regulations relating to such grades. TWO-FAMILY DWELLINGS. Section 9. All two-family dwellings, unless otherwise specifically stand in this act, shall be subject to the same requirements as dwellings. INCREASE IN HEIGHT OF BUILDINGS. Section 10. No building of any grade referred to in this act shall be increased in height, if it is situated on a rear lot, alley, court, street, or other passageway twenty feet or less in width. LIGHT. Section 11. Whenever the windows of a building used for human habitation receive their light from a yard, alley, court, or passageway, the line of which is formed by a fence six feet in height, wall or building five or less feet distant, such fence, wall, or building, facing such yard, alley, court, or passageway, shall be white-washed or painted white, and shall be maintained in such condition so as to reflect the maximum available light to such windows. WINDOWS. Section 12. No room in any tenement erected or converted since June seventh, one thousand eight hundred and ninety-five, shall be occupied for living purposes, unless it has a window lighting area of at least twelve square feet, the upper half of which surface shall open fully. At least one window of the required size shall open directly upon a street, yard, or open area not less than that provided for in section six of this act. No room in any other building of the grades referred to in this act shall be occupied for living purposes, unless it has a window or windows of an approved lighting area opening to the outer air. The upper half of all such windows shall open fully. ALCOVE AND ALCOVE ROOMS. Section 13. No part of any room, in any building of the grades referred to in this act, shall be enclosed or subdivided, in whole or in part, by a fixed or movable partition, or other contrivance or device, unless such part of the room, so enclosed or subdivided, shall contain a separate window as herein required for ordinary rooms, and shall have a floor area of not less than seventy square feet: Provided, That rooms used solely for kitchens, kitchenettes, bath rooms, laundries, water closet compartments, shall be exempt from the provisions of this section with reference to floor area: Provided further, That all kitchens, kitchenettes, bath rooms, laundries, and water closet compartments shall be equipped for the purpose for which the room is planned. (13 amended May 16, 1921, P.L.617, No.267) WINDOWS IN HALLS. Section 14. No tenement erected prior to June seventh, one thousand eight hundred and ninety-five, no dwelling converted into a tenement, no two-family dwelling or rooming-house, shall be used for human habitation, unless all public halls are lighted on each floor by a window, or windows, of an approved lighting area, opening directly to the outer air, the upper half of which surface opens fully: Provided, however, That whenever any such public hall cannot reasonably be so lighted and ventilated, translucent glass panels of at least four square feet shall be inserted in the wall or in the doors, or as transoms above the doors, leading to the rooms whose windows open directly to the outer air. Such halls shall have a ventilating skylight of satisfactory area in the top floor, directly over the stairway, and, where such is or may be built in, it shall be an acceptable substitute for windows either leading to the outer air or to rooms that lead to the outer air, on the top floor. No tenement erected since June seventh, one thousand eight hundred and ninety-five, shall be occupied for human habitation, unless the windows in its public halls conform to the requirements of section three of the act of Assembly of June seventh, one thousand eight hundred and ninety-five (Pamphlet Laws, one hundred and seventy-eight), entitled "A supplement to an act, entitled 'An act amending section one of article three of an act, entitled "An act for the better government of cities of the first class in this Commonwealth," approved the first day of June, Anno Domini one thousand eight hundred and eighty-five, regulating the construction, maintenance, and inspection of buildings,' approved the eighth day of June, Anno Domini one thousand eight hundred and ninety- three, regulating the construction, alteration, and ventilation of tenement-houses, and providing for the safety of the inhabitants thereof, and providing penalties for the violation of the same." If, after the foregoing provisions have been complied with, such public halls are not adequately lighted in the daytime, the owner, lessee, or conductor of such house shall keep a proper light burning in the hallways, near the stairs, as may be necessary, from sunrise to sunset. LIGHT IN PUBLIC HALLS AT NIGHT. Section 15. In every public hall, near the stairs in a tenement-or rooming-house, an adequate light shall be kept lighted by the conductor, from sunset to at least ten post meridian; and in the entrance hall, and the hall of the second floor above, an adequate light shall be kept lighted all night. Such light shall be adequately protected by a glass shade or wire screen. LIGHT IN CORRIDORS, CELLARS, ET CETERA. Section 16. Whenever it is necessary to improve the lighting of any hall, corridor, cellar, basement, or other part of a two- family dwelling, rooming-house, or tenement, used in common by two or more families, in addition to the provisions for this purpose otherwise stated in this act, the Chief of the Division of Housing and Sanitation may order the walls and ceiling, or both, to be painted or white-washed, kalsomined, or papered in white or other approved light color. CELLAR VENTILATION. Section 17. The cellar or space underneath the first floor of every building used for human habitation, shall, when feasible, be so ventilated as to secure a constant supply of fresh air, and when feasible shall be lighted by windows. CELLAR AND BASEMENT ROOMS. Section 18. No cellar or cellar-room shall be used for living purposes. No basement room in any building of the grades referred to in this act shall be used for living purposes, other than laundry, the finished ceiling of which is less than seven feet above the finished floor level, and the walls of which are not damp-proof and water-proof. Such rooms shall have a window area equal to that required in section twelve, and shall not be used for sleeping purposes, unless along the side containing the window there is an open area, of not less than six inches, below the level of the window sill, and extending upward to the surface of the street, which area shall be satisfactorily drained. The tenant of a cellar-room or basement not conforming to the above requirements shall be subject to the penalties hereinafter provided for violations of this act, and the chief of the division shall thereupon notify the agent or owner, and the lessor if he be not the owner, that such tenancy shall be terminated. SANITATION. Courts and Areas to be Drained. Section 19. All courts, yards, areas, and alleys about buildings of the grades referred to in this act shall be properly graded, so as to receive thorough drainage in all their parts. If necessary the chief of the division shall order such spaces filled or repaved, so as to eliminate all stagnant ponds or waters and thus destroy the breeding places of mosquitoes. RAIN LEADERS. Section 20. The rain conductors of all buildings of the grades referred to in this act shall be connected with a sewer, if there is one in the street contiguous thereto, or, if there is none, as soon as such sewer is laid, but at no time shall the flow therefrom be permitted to go over the sidewalk or upon the adjoining property. RAIN CONDUCTORS NOT TO BE USED AS WASTE PIPES. Section 21. No fixture, sink, closet, or drain of any kind, receiving house sewage, shall empty into a rain conductor, nor discharge on a roof draining to a rain conductor. HOUSE TO BE SEWER CONNECTED. Section 22. Every dwelling or rooming-house accessible to a sewer shall be connected therewith. All privy-vaults or cesspools and school sinks shall be removed from the premises of any dwelling or rooming-house after a sewer has been laid in a contiguous street. No building shall be used as a tenement unless it is sewer connected, and all cesspools, privy-vaults, and school sinks shall have been removed from the premises thereof. WATER-CLOSETS. Section 23. Every dwelling to which a public sewer and water-main is accessible shall have a water-closet, thoroughly flushed at all times, in a separate and independent compartment; and in dwellings having a furnace or other heating-system there shall be, when feasible, at least one such water-closet located within such dwelling in a separate compartment or in a bath- room. NUMBER AND LOCATION OF WATER-CLOSETS. Section 24. In every rooming-house there shall be at least one water-closet, in a separate compartment, for every four rooms or major fractional part thereof, approached by an entrance independent of any living room. In each two-family house or tenement there shall be at least one water-closet, contained in a separate compartment, for each family occupying the premises; except that, where there are apartments of one or two rooms, there shall be at least one water-closet for each three families, located in a separate compartment on the same floor with the apartments it is to serve, if feasible; otherwise, it shall be in a place easily accessible to such apartments. Such water-closet shall be approached by at least one entrance independent of a living room. At least one water- closet, for each other apartment in such buildings, shall have at least one entrance by separate hall or passageway, independent of a room used for sleeping purposes; except that, where such apartment consists of a kitchen, a bath-room and not more than two living-rooms, and is occupied by not more than one family, said entrance may be direct from a living-room. No water-closet shall be maintained in the cellar or basement of any building, without a permit from the Bureau or Board of Health; but under no circumstances shall the general water- closet accommodations of a rooming-house or tenement be permitted in a cellar or basement. PRIVIES. Section 25. Where a sewer is not accessible to a dwelling there shall be a privy-vault located in the yard thereof, and constructed in accordance with the laws, ordinances, and rules of the Bureau or Board of Health relating thereto. Such privy- vault shall be cleaned to the bottom whenever the contents come within three feet of the level of the ground outside, or within three feet of the floor of the privy-house, if such floor is below the level of the surrounding ground, and shall be corrected with lime by the tenant or occupant of the property whenever it becomes foul. WATER-SUPPLY. Section 26. Where water-mains have been placed in a street, and there is sufficient pressure, water shall be introduced in every dwelling, and in every apartment of two or more rooms in a two-family house, and in a tenement: Provided, That, in sparsely populated districts where there is a well upon the premises, and the water therefrom is of standard purity required by the Board of Health, such well may be considered an acceptable substitute for water in dwellings. When one or more apartments consist of but one room, there shall be at least one source of water- supply, in an easily accessible place, for every two such apartments. In all rooming-houses water shall be introduced in an accessible place on each floor: Provided, That where less than three rooms are on each floor of a rooming-house, water may be introduced on every alternate floor. Wherever a water fixture is introduced, a sink, and suitable drain, properly trapped, leading from it, shall also be installed. No such sink in a tenement shall be enclosed with any woodwork. PLUMBING. Section 27. All plumbing, water-closets, and the compartments in which they are located, pipes and other like fixtures in dwellings, rooming-houses, and tenements, shall be installed and maintained, in accordance with the plumbing regulations of cities of the first class. CELLARS TO BE DAMP-PROOF AND WATER-PROOF. Section 28. All cellars or spaces beneath the first floor or basement of any building of the grades referred to in this act shall be damp-proof and water-proof, and when, in the opinion of the Chief of the Division of Housing and Sanitation, conditions require it, they shall be concreted with good concrete and a finished surface to a depth of not less than four inches, and the walls shall be coated with the same or other nonpermeable surfacing to such depth as to prevent the incoming of water. OCCUPANCY-OVERCROWDING. Section 29. No room in any dwelling-house, rooming-house, or tenement-house, which is used for sleeping purposes, shall be occupied or permitted to be occupied at any time by more occupants than would permit for each occupant over twelve years of age at least four hundred cubic feet of air space, and for each occupant under twelve years of age at least two hundred cubic feet of air space. ANIMALS AND FOWLS IN BUILDINGS. Section 30. No horse, cow, calf, swine, sheep, or goat shall be kept or slaughtered in a dwelling, rooming-house, or tenement, or any part thereof; nor shall any other animal or fowl, deemed objectionable by the Chief of the Division of Housing and Sanitation, be kept or slaughtered in any such building; nor shall any of the aforesaid animals or such fowl be kept in the yard of any such building, or the lot thereof, or the property adjoining, in closely built-up sections, without the person desiring to keep the same first having obtained a permit from the Bureau or Board of Health. Application for such permit shall be accompanied by a fee of fifty cents; and such permit, when granted, shall expire not later than the calendar year for which it is issued. UNINHABITABLE HOUSES TO BE VACATED. Section 31. Whenever any dwelling-house, tenement-house, two-family dwelling-house, or rooming-house, or any part thereof, for any reason whatsoever, is unfit for human habitation or is dangerous to life and health, or is being maintained and occupied contrary to the laws and ordinances governing such buildings in cities of the first class or the provisions of this act, or is dangerous to life and health, the Chief of the Division of Housing and Sanitation shall issue an order to all persons therein requiring them to vacate such building, or part thereof, within not less than one or more than thirty days after service of such notice; the reason therefor to be mentioned in such order, a copy of which shall be served at the same time upon the last registered owner of such property, by leaving the same at the last known residence or address of such owner, or, if such address is not known, by posting the same in a conspicuous place upon such building. And it shall thereafter be unlawful for any person or persons to occupy, or permit the occupancy of, such house, or any designated part thereof, until the Chief of the Division of Housing and Sanitation is satisfied that the provisions of the laws of the Commonwealth, the ordinances of the city, and the rules and regulations of the Bureau or Board of Health have been complied with, and that the dangers from said house have ceased to exist. And whenever, in the opinion of the Chief of the Division of Housing and Sanitation, any building of any kind is in such physical condition as to be a menace to life or to adjoining properties, he shall forthwith report the same to the Department of Public Safety. MANUFACTURING IN HOUSES. Section 32. No room or rooms in any dwelling-house, rooming- house, or tenement which are used for manufacturing purposes shall be occupied, at any one time, by more persons than would give to each occupant at least four hundred cubic feet of air space; and no such room or rooms shall be so occupied, in any instance, except by a permit from the Bureau or Board of Health, which permit shall expire not later than the calendar year for which it is issued. No such permit shall be granted if such use would create dust, foul odors, or undue noise, liable to affect injuriously the health or comfort of those engaged therein, or of the tenants, occupants, or neighbors. JANITOR. Section 33. In a tenement occupied by six or more families, in which the owner or conductor does not reside, there shall be a janitor, house-keeper, or other responsible person, who shall reside therein and have charge thereof, if required by the chief of the division. WOODEN TENEMENTS. Section 34. No wooden building exceeding three stories in height shall be occupied as a tenement; and no wooden building of any height shall be occupied as a tenement, if located within the limits established by councils in cities of the first class prohibiting the erection of frame buildings. FIRE-ESCAPES. Section 35. No building of any of the grades referred to in this act shall be used for human habitation unless it is equipped with a fire-escape or fire-escapes as required by law: Provided, That any building of such grades having less than four (4) stories, and used as a rooming-house or tenement, the third story of which shall contain not more than five (5) rooms and a bath-room, and such third story is not occupied by more than ten (10) persons, and has at least one stairway therefrom, shall be exempt from the provisions of the acts of Assembly requiring fire-towers and outside fire-escapes for such buildings, if every apartment above the second floor in any of said buildings shall be equipped with a satisfactory wire, chain, or other safe fire-escape. NO INCUMBRANCE ON FIRE-ESCAPE. Section 36. The owner of every occupied dwelling upon which there is a fire-escape shall keep such fire-escape in good order and repair, and wherever rusty shall have it properly painted with two coats of paint. No person shall at any time place any incumbrance of any kind before or upon any fire-escape, scuttle, or bulkhead. The tenant or occupant of each apartment shall be liable for any incumbrances on the fire-escape, scuttle, or bulkhead adjoining his apartment. STORAGE OF CERTAIN GOODS FORBIDDEN. Section 37. No dwelling, rooming-house, or tenement, or any part thereof, occupied as such, shall be used as a place of storage, keeping, or handling of feed, hay, straw, excelsior, cotton, paper-stock, feathers, or rags, or for any matter or thing dangerous or detrimental to health or life, except as hereinafter provided; nor shall any such building or any adjacent or contiguous property receive, store, or keep dung, or manure of any kind, except a stable, where such cleanings from the stalls may be stored for a period of not longer than seven days, in a water-tight sanitary bin, built wholly inside the building line of the property upon which it is situated: Provided, That in sparsely populated districts such stable cleanings may be kept for a longer period, if kept according to the rules and regulations of the Board or Bureau of Health. COMBUSTIBLE MATERIALS-PAINTS, OILS, ET CETERA. Section 38. No basement or cellar or room, or rooms, in any dwelling or rooming-house shall be used as a paint- or oil-shop, or for any kind of a store where highly combustible materials or goods are kept, unless the same conform to the rules and regulations of the Board or Bureau of Health approved by select council. BAKERIES AND FAT BOILING. Section 39. No tenement-house, or any part thereof, shall be used as a bakery or as any place of business in which fat is boiled, unless the ceiling, side walls, and all exposed woodwork therein, or in the part thereof so used, is lined with fire- proof materials satisfactory to the chief of the division and the Director of the Department of Public Safety. MAINTENANCE-CLEANLINESS. Section 40. The occupant or tenant of every dwelling and of each apartment in a two-family dwelling, or the lessee or conductor of every rooming-house, and the conductor of every tenement-house, shall keep the same and every part thereof, and the yards, courts, shafts exclusively belonging thereto, free from all accumulations of dirt, filth, garbage, or other refuse matter. The owner of such building, when notified by the chief of the division, shall see that every part thereof, and all cellars, halls, passages, walls, areas, yards, courts, and spaces appurtenant thereto, are kept free from all accumulations of dirt, filth, garbage, or other refuse matter. Any person who shall cause or permit any filth, refuse, or perishable matter to be cast into a shaft, court, or area or yard, in or about such building, or shall commit any other nuisance in or about such building, shall be subject to the penalty hereinafter provided for violations of this act. GARBAGE AND ASH RECEPTACLES. Section 41. The occupant or tenant of every dwelling, and of each apartment in a two-family house, the lessee or conductor of every rooming-house, and the conductor of every tenement-house, shall provide for each apartment under his supervision a suitable non-absorbent, non-leakable, covered receptacle for garbage, and a receptacle of approved kind for ashes. All occupants or tenants of buildings of the foregoing classes shall securely bundle all rubbish, waste paper, and like refuse, in such manner as to prevent it from causing a nuisance upon the property or upon the street when the collectors are taking it away. Garbage chutes shall not be constructed, maintained, nor used. Contractors or others removing refuse or other waste shall so handle it as to prevent it from escaping or becoming a nuisance on or to other properties or the public street. REPAIRS. Section 42. Every building of the grades referred to in this act, and all parts thereof, shall be kept in good repair and the walls damp-proof. All rain-water shall be so drained and carried from such building as to prevent its dripping to the ground, or causing dampness in the walls, ceilings, yards, courts, or other areas, or in those of adjoining properties. THE BUREAU OR BOARD OF HEALTH TO MAKE RULES AND REGULATIONS. Section 43. It shall be the duty of the Bureau or Board of Health, and it is hereby empowered, to make such additional rules and regulations governing the use, occupancy, and sanitation and maintenance of the buildings of the grades referred to in this act, the ground surrounding the same, and of unoccupied lands, as may from time to time be deemed necessary. All such rules and regulations shall be approved by select council and promulgated by advertising, three times in each of two newspapers published in cities of the first class, a notice that such rules and regulations have been adopted, and where copies thereof may be had. Such rules and regulations shall be printed, and shall be furnished free, upon application to the Bureau of Health. It shall be the duty of the Division of Housing and Sanitation to enforce said rules and regulations and the provisions of this act. PROVISIONS FOR ENFORCING THE ACT. Section 44. On and after the passage of this act, no building shall be occupied or permitted to be occupied as a rooming-house or tenement-house unless the owner or lessee of such building, or the conductor of such tenement, shall have first made application to the Bureau or Board of Health for a license therefor. Such application shall be made in writing, and shall state the nature and extent of the applicant's interest in the property, the name and address of the owner or his agent, the location of the building, the use to which it is to be put, and the number of rooms to be occupied. Each application shall be accompanied by a fee of two dollars ($2.00) for each rooming- house, and, for a tenement-house, fifty cents ($.50) for each apartment that is to be occupied for living purposes. The license shall be granted, without further charge, by the chief of the division, after he has inspected the premises and certified that the provisions of this act and the rules and regulations of the Bureau or Board of Health have been complied with. Said license shall be for the remainder of the calendar year, and may be revoked for cause. APPEALS. Section 45. Any person whose application for a license has been refused or revoked, or who may be aggrieved by any order or notice issued, or decision by the chief of the division or of any other official, or by any department, bureau or board having to do, or assuming to have to do, with and in the enforcement of this act or of any rules or regulations made in accordance therewith, may appeal therefrom, within fifteen (15) days thereafter, to the court of common pleas of the proper county; and such appeal shall not supersede any such notice, order, or decision pending the entry of a final decree thereabout, unless so ordered by the court. INSPECTIONS. Section 46. The chief of the division and his duly accredited inspectors may enter and examine on any week-day, between the hours of eight ante meridian and five post meridian, all houses or other premises within the provisions of this act. Such inspectors shall then wear a prescribed uniform, and show a suitable badge and certificate of authority signed by the Director of Public Health and Charities. No person shall hinder such chief or any such inspector in the performance of his duty. LICENSES TO BE DISPLAYED. Section 47. On and after the passage of this act it shall be unlawful for any person to let, rent, lease, or conduct any tenement-house or rooming-house, in any city of the first class, unless a license therefor has been issued by the Bureau or Board of Health, in accordance with the provisions of section forty- four of this act, and unless such license is at all times displayed in a conspicuous place upon the walls within and close to the outer entrance of the house. PENALTIES. Section 48. Any person who shall violate any of the provisions of this act, or who shall interfere with an inspector of the Division of Housing and Sanitation in enforcing the provisions of this act, or of any law of the Commonwealth, or ordinance of the city of the first class, or rule and regulation of the Bureau or Board of Health, that has been approved by select councils and advertised in the manner provided for in this act, shall for every such offense, upon conviction thereof in a summary proceeding before any magistrate of said city in which said offense was committed, be subject to a fine of not less than five dollars ($5.00) or more than fifty dollars ($50.00), with costs of prosecution, for the first offense; and, for a second or subsequent offense, to a fine of not less than twenty-five dollars ($25.00) or more than two hundred dollars ($200.00), and costs of prosecution, or by imprisonment for not more than sixty days, or by both, at the discretion of the court. All fines so imposed and collected to be paid into the treasury of the said city. NOTICES AND LIENS. Section 49. Notices requiring compliance with this act shall be served upon the persons required to make such compliance, or his agent, unless otherwise herein provided, by mailing a copy to the residence, if known, of such person or his agent; and, if unknown, by posting a copy in a conspicuous place upon the premises affected, which notice shall not be removed or defaced while the condition mentioned therein exists. All notices shall be complied with within such period, not exceeding thirty days, as the Bureau or Board of Health may determine; and, upon failure to comply, the Bureau or Board of Health may contract to have the necessary work done; and the cost thereof shall be made a lien against such property, and collectible as now provided by law: Provided, however, That if there shall be no funds at the disposal of such Bureau or Board of Health for the aforesaid purpose, then the Bureau or Board of Health may contract and have such work done, and the lien therefor shall be marked to the use of the contractor doing the work, and shall be collectible by such contractor as is now provided by law in similar cases: Provided further, That the owner of the property may, by permission of the Department of Public Health and Charities, pay the amount of the lien thereon in five equal yearly parts, with interest at the rate of five per cent. REPEALER. PROVISO.